## Notes
DL | detection limit
blue | value below the lowest calibration point/limit of quantification
--- | no data
Parameter: | Method: | Instrument: |  | Lowest calibration point:
NH4-N | salicylate-hypochlorite method | Thermo Scientific™ Gallery Beermaster Plus Photometric Analyzer |  | 20 | ug/L
NO3+NO2-N (TON) | EPA method 353.1, Hydrazine reduction | Thermo Scientific™ Gallery Beermaster Plus Photometric Analyzer |  | 13 | ug/L
NO2-N | EPA method 353.1, Hydrazine reduction | Thermo Scientific™ Gallery Beermaster Plus Photometric Analyzer |  | 2 | ug/L
PO4-P | EPA method 365.1, Molybdenum blue | Thermo Scientific™ Gallery Beermaster Plus Photometric Analyzer |  | 18 | ug/L
Cl | EPA method 325.2, Ferrithiocyante | Thermo Scientific™ Gallery Beermaster Plus Photometric Analyzer |  | 2 | mg/L
SO4 | EPA method 375.4, Barium chloride | Thermo Scientific™ Gallery Beermaster Plus Photometric Analyzer |  | 3 | mg/L
NPOC | combustion catalyst method | Shimadzu TOC-V CHN | http://snobear.colorado.edu/Kiowa/Kiowaref/shimadzutoc_vcsn.doc.html | 1 | mg/L
TN | combustion catalyst method | Shimadzu TOC-V CHN |  | 0.1 | mg/L
TOC | persulfate wet oxidation method | OI Aurora 1030W TOC Analyzer
Detection limit:
Na | ICP-OES | Thermo Scientific™ iCAP™ 6300 Duo ICP-OES Analyzer |  | 0.002 | mg/L
K | ICP-OES | Thermo Scientific™ iCAP™ 6300 Duo ICP-OES Analyzer |  | 0.022 | mg/L
Ca | ICP-OES | Thermo Scientific™ iCAP™ 6300 Duo ICP-OES Analyzer |  | 0.007 | mg/L
Mg | ICP-OES | Thermo Scientific™ iCAP™ 6300 Duo ICP-OES Analyzer |  | 0.007 | mg/L
Mn | ICP-OES | Thermo Scientific™ iCAP™ 6300 Duo ICP-OES Analyzer |  | 0.001 | mg/L
Fe | ICP-OES | Thermo Scientific™ iCAP™ 6300 Duo ICP-OES Analyzer |  | 0.001 | mg/L
Cu | ICP-OES | Thermo Scientific™ iCAP™ 6300 Duo ICP-OES Analyzer |  | 0.02 | mg/L
Zn | ICP-OES | Thermo Scientific™ iCAP™ 6300 Duo ICP-OES Analyzer |  | 0.001 | mg/L
P | ICP-OES | Thermo Scientific™ iCAP™ 6300 Duo ICP-OES Analyzer |  | 0.026 | mg/L
S | ICP-OES | Thermo Scientific™ iCAP™ 6300 Duo ICP-OES Analyzer |  | 0.015 | mg/L
Absorption spectrum (A254, S275-295, SR, E2:E3) |  | Shimadzu UV 1280

## DATA
Site | Date | A254 | S275-295 | SR | E2:E3 | DOC (mg/L) Persulfate Oxidation | DOC (mg/L) Shimadzu | TDN (mg/L) | SUVA | NH4-N (ug/L) | NO2-N (ug/L) | NO3-N (ug/L) | PO4-P (ug/L) | Cl (mg/L) | SO4 (mg/L) | Na (mg/L) | K (mg/L) | Ca (mg/L) | Mg (mg/L) | Mn (mg/L) | Fe (mg/L) | Cu (mg/L) | Zn (mg/L) | P (mg/L) | S (mg/L)
DCP | 2019-11-12 | 0.07255 | 0.017914 | 1.0388 | 5.8172 | --- | 3.284 | 0.4847 | 2.2092 | 12.882 | <DL | <DL | 39.1246 | 4.0562 | 0.19657 | 1.714 | 0.482 | 5.678 | 1.158 | 0.022 | 0.141 | <DL | 0.042 | <DL | 0.814
RTH | 2019-11-12 | 0.0679 | 0.012669 | 0.8013 | 4.7 | --- | 2.61 | 0.13 | 2.6015 | 11.0073 | 0.059 | 55.9634 | 4.3931 | 2.771 | 1.0461 | 1.484 | 0.178 | 9.748 | 2.677 | 0.005 | 0.099 | <DL | 0.041 | <DL | 0.862
TUN | 2019-11-12 | 0.1142 | 0.012654 | 0.78848 | 4.7285 | --- | 3.435 | <DL | 3.3246 | 11.0888 | 0.89283 | 5.5352 | 3.955 | 4.5333 | 0.6532 | 2.203 | 0.241 | 5.484 | 0.91 | 0.004 | 0.084 | <DL | 0.041 | <DL | 0.7
JDG | 2019-11-12 | 0.2989 | 0.012925 | 0.72528 | 4.949 | --- | 7.441 | <DL | 4.0169 | 33.4732 | 1.0592 | 22.0296 | 2.9196 | 2.9294 | 1.8507 | 1.598 | 0.45 | 10.646 | 1.818 | 0.007 | 0.126 | <DL | 0.042 | <DL | 1.097
DCP | 2020-02-18 | 0.1206 | 0.014727 | 0.92522 | 5.0506 | 2.583 | 2.78 | 0.35 | 4.3381 | 3.6201 | 0.17096 | 51.2181 | 3.0435 | 1.7823 | 1.0962 | 2.1269 | 0.20018 | 3.2197 | 0.80081 | 0.0090297 | 0.057468 | <DL | <DL | <DL | 0.6253
RTH | 2020-02-18 | 0.05365 | 0.01555 | 1.0997 | 4.7428 | 1.379 | 1.47 | 0.41 | 3.6497 | 9.559 | 0.02173 | 15.7956 | 3.2231 | 1.5736 | 1.1616 | 1.9573 | 0.12986 | 6.6042 | 1.9015 | 0.0035207 | 0.035895 | <DL | <DL | <DL | 0.62711
TUN | 2020-02-18 | 0.0931 | 0.013339 | 0.87032 | 4.5156 | 1.788 | 2.26 | 0.23 | 4.1195 | 4.6073 | <DL | 13.0016 | 3.2071 | 1.7498 | 0.84971 | 2.0155 | 0.15395 | 2.5482 | 0.58183 | 0.0035972 | 0.041518 | <DL | <DL | <DL | 0.41465
JDG | 2020-02-18 | 0.1231 | 0.014123 | 0.92256 | 4.6491 | 2.846 | 3.07 | 0.44 | 4.0098 | 5.5571 | <DL | 20.2615 | 3.3448 | 1.6853 | 0.91115 | 1.8197 | 0.20332 | 7.291 | 1.316 | 0.0033049 | 0.049467 | <DL | 0.0068985 | <DL | 0.78945