## PM-UBC
Report: R-2019F-PM-UBC-MJ | [5 empty] | Date: 13/12/2019
University of Waterloo WaterSTP Laboratory Seasonal Report
Fall 2019
Pacific Maritime
Sample Identifier | pH | UV254 [cm-1] | DOC [ppm] | Turbidity [NTU] | Zeta Potential [mV] | THMsFP [μg/L] | BDCM FP (a) [μg/L] | TBM FP (b) [μg/L] | TCM FP (c) [μg/L] | DBCM FP (d) [μg/L] | HAAsFP [μg/L] | MCAA FP (e) [μg/L] | MBAA FP (f) [μg/L] | DCAA FP (g) [μg/L] | DBAA FP (h) [μg/L] | TCAA FP (i) [μg/L] | Free Chlorine, Final [mg/L]
12Nov19_PM-UBC-HMC_DCP.375 | 6.6667 | 0.067267 | 2.608 | 1.52 | -14.6667 | 160 | 8.8 | <0.34 | 151 | 0.39 | 202 | 6.1 | <2.9 | 78 | <2.0 | 118 | 3.595
12Nov19_PM-UBC-HMC_JDG.855 | 7.3 | 0.28333 | 6.9813 | 0.64667 | -15.2333 | 615 | 11 | <0.34 | 604 | <0.37 | 1020 | 14 | <2.9 | 329 | <2.0 | 678 | 5.26
12Nov19_PM-UBC-HMC_TUN.601 | 6.9 | 0.107 | 2.7997 | 0.40667 | -8.1533 | 243 | 8.5 | <0.34 | 235 | <0.37 | 370 | 5.8 | <2.9 | 124 | <2.0 | 240 | 3.2
(a): Bromodichloromethane Formation Potential
(b): Tribromomethane Formation Potential
(c): Trichloromethane Formation Potential
(d): Dibromochloromethane Formation Potential
(e): Monochloroacetic Acid Formation Potential
(f): Monobromoacetic Acid Formation Potential
(g): Dichloroacetic Acid Formation Potential
(h): Dibromoacetic Acid Formation Potential
(i): Trichloroacetic Acid Formation Potential
From:
Fariba Amiri
200 University Ave W,
Waterloo, ON N2L 3G1
f3amiri@uwaterloo.ca
Tel: 519-888-4567 ext. 33821
To:
Mark Johnson, Hannah J. McSorley
Geological Sciences,
University of British Colombia
UBC ESB: 5033 (Office) | 3062 (Lab)
mark.johnson@ubc.ca, hmcsorley@eoas.ubc.ca
Tel: 250-755-6062